## Front
SUBMITTAL DATA
mFurnaceTM Coil Cabinet
Job: | [5 empty] | Engineer:
Location: | [5 empty] | Architect:
Schedule No.: | [5 empty] | Date:
System Designation: | [5 empty] | For:
FEATURES
• Multiple coil cabinet and filter grille options available.
• Perfectly matches with ADP manufactured housing coils.
• 1 year limited warranty available
#VALUE!
Coil Cabinet Model | Accessory Type | Airflow Direction | Door Type | Top | Height (in) | Depth (in) | Width (in) | Filter Size (Door) | Filter Size (Top) | Applicable M Series Coil sizes
MHCDLO23 | Coil Cabinet | Downflow | Louvered | Open | 23.25 | 23.5 | 19.8 | 20x20x1 (qty 1) | 20x24x1 (qty 1) | Coil height upto 20"
2140 Lake Park Blvd, Richardson, TX 75080
www.adpnow.com
Product improvement is a continuous process at Advanced Distributor Products. Therefore, product specifications are subject to change without notice and without obligation on our part. Please contact your ADP representative or distributor to verify details.
© 2025 by Advanced Distributor Products. All rights reserved.

## Back
2140 Lake Park Blvd, Richardson, TX 75080
www.adpnow.com

## Sheet1 (hidden)
Coil Cabinet Model | Accessory Type | Airflow Direction | Door Type | Top | Height (in) | Depth (in) | Width (in) | Filter Size (Door) | Filter Size (Top) | Applicable M Series Coil sizes
MHCDLS23 | Coil Cabinet | Downflow | Louvered | Solid | 23.25 | 23.5 | 19.8 | 20x20x1 (qty 1) | N/A | Coil height upto 20" | #VALUE!
MHCDSO23 | Coil Cabinet | Downflow | Solid | Open | 23.25 | 23.5 | 19.8 | N/A | 20x24x1 (qty 1) | Coil height upto 20" | #VALUE!
MHCDLO23 | Coil Cabinet | Downflow | Louvered | Open | 23.25 | 23.5 | 19.8 | 20x20x1 (qty 1) | 20x24x1 (qty 1) | Coil height upto 20" | #VALUE!
MHCDLS30 | Coil Cabinet | Downflow | Louvered | Solid | 30.5 | 23.5 | 19.8 | 20x30x1 (qty 1) | N/A | Coil height upto 25" | #VALUE!
MHCDSO30 | Coil Cabinet | Downflow | Solid | Open | 30.5 | 23.5 | 19.8 | N/A | 20x24x1 (qty 1) | Coil height upto 25" | #VALUE!
MHCDLO30 | Coil Cabinet | Downflow | Louvered | Open | 30.5 | 23.5 | 19.8 | 20x30x1 (qty 1) | 20x24x1 (qty 1) | Coil height upto 25" | #VALUE!
MHCDLS40 | Coil Cabinet | Downflow | Louvered | Solid | 40.25 | 23.5 | 19.8 | 20x20x1 (qty 2) | N/A | All M Series Coil Height | #VALUE!
MHCDSO40 | Coil Cabinet | Downflow | Solid | Open | 40.25 | 23.5 | 19.8 | N/A | 20x24x1 (qty 1) | All M Series Coil Height | #VALUE!
MHFDLO18 | Filter Grille | Downflow | Louvered | Open | 18 | N/A | 19.8 | N/A | N/A | N/A | #VALUE!
MHFDLO24 | Filter Grille | Downflow | Louvered | Open | 24 | N/A | 19.8 | N/A | N/A | N/A | #VALUE!
MHCUSO20 | Coil Cabinet | Up-flow | Solid | Open | 20 | 23.5 | 19.8 | N/A | N/A | Coil height upto 17" | #VALUE!
MHCUSO24 | Coil Cabinet | Up-flow | Solid | Open | 24 | 23.5 | 19.8 | N/A | N/A | Coil height upto 21" | #VALUE!
MHCUSO28 | Coil Cabinet | Up-flow | Solid | Open | 28 | 23.5 | 19.8 | N/A | N/A | Coil height upto 25" | #VALUE!
MHCUSO36 | Coil Cabinet | Up-flow | Solid | Open | 36 | 23.5 | 19.8 | N/A | N/A | All M Series Coil Height | #VALUE!